# Robotic Training/Competency Development Tools

Clinical Resource Manual Checklist

  - ___Table of Content

  - ___Introduction

    - ___ General purpose of device

    - ___ Theory behind device

    - ___ Supporting Research

    - ___ References

    - ___ Liability Statement regarding proper training

    - ___ Site if listed with the Food and Drug Association and device classification

    - ___Errors and Omissions (If any errors or omissions are found in this manual, please notify: )

      - ___ Company Name

      - ___ Address

      - ___ Phone Number

      - ___ Fax Number

      - ___ E-mail Address

  - ___Treatment Population

    - ___ Suggested Diagnoses

    - ___ Indications

    - ___ Contraindications  &/or Risk Factors (i.e., height and weight  capacity)

  - ___Description of the device

    - ___Hardware

      - ___Pictures of Device

      - ___Individual Parts labeled

      - ___Safety Switches Identified

    - ___Software

      - ___Login process

      - ___Screen prints

      - ___Detailed description of each field

      - ___Help Menus

    - ___Accessories

  - ___Using the device

    - ___Putting on or setting a patient up in the device

      - Step by step written process

      - Pictures of the process

    - ___ Taking off or removing patient from the device

      - Step by step written process

      - Pictures of the process

    - ___Operating Modes

      - Identify uniqueness of different modes of training

      - Example of different training techniques

    - ___ Data Storage / Summary features

    - ___Quick training check list and/or Tip sheets

  - ___Emergency Procedures

    - ___ List Emergency switches

    - ___ Written step by step procedures how to use switches

    - ___ Pictures of switches

    - ___Emergently removing patient from the device

  - ___Care and Maintenance

    - ___ Time schedule for cleaning and maintenance

    - ___ Performance Check List

    - ___ Identify qualified person for routine maintenance and/or how they will be trained

    - ___ Trouble shooting steps

    - ___ Error Messages

    - ___ Who to contact and contact information

      - Name

      - Title

      - Work Phone Number

      - Cell Phone Number

      - Emergency Contact Number

      - E-mail address

      - Website

  - ___Clinical Practice

    - ___Sample Documentation and or Billing requirements

      - ___Goal writing suggestions – how the device helps the patient meet their goals.

      - ___Billing suggestions, CPT codes

      - ___Assessment tools

      - ___Sample letters of Medical Necessity (acute, chronic etc)

    - ___Clinical Problem Solving

      - ___How to adjust  hardware or software based on clinical presentation  (example: undesirable movement, spasticity, limited range of movement)

      - ___Treatment suggestions and how they translate to acquired skills outside the device

      - ___Treatment progression (including when to transition treatment outside  of the device) See Sample Training Progression Plans

    - ___Adverse Events

      - ___Event Reported to

        - ___Name

        - ___Address

        - ___Phone Number

        - ___Fax Number

        - ___E-mail address

      - ___Description of Event

        - ___ Date and time it happened

        - ___ Place

        - ___ Person Injured (Patient or User)

        - ___ Initials, DOB and sex of individual

        - ___ Equipment damaged  (caused the event or was damaged as a result of the event)

        - ___ Description of event

      - ___Equipment Identification:

        - ___Product Name

        - ___Product Serial Number

      - ___Reporters Information

        - ___ Name

        - ___Company Name

        - ___Address

        - ___Phone Number

        - ___e-mail address

      - ___ Sample Reporting Adverse Events Form

  - ___Ordering replacement parts

  - ___Trouble shooting

  - ___Definitions, abbreviations and list of symbols

  - ___Technical Support