# Robotic Training/Competency Development Tools

User Manual Checklist

  - ___  Table of Contents

  - ___ Company Information

    - ___ Company Name

    - ___ Address

    - ___ Contact name ( Suggest Regional Representative)

    - ___ Phone Number

    - ___ Fax Number

    - ___ E-mail Address

    - ___ Website Address

    - ___Tech Support

  - ___ Introduction

    - ___ General purpose of device

    - ___ Theory behind device

    - ___ Supporting Research or provide links  to home page

    - ___ References

    - ___ Liability Statement regarding proper training

    - ___ Site if listed with the Food and Drug Association and device classification

    - ___ Who will install or re-locate the system and software: Manufacturer or User?

      - ___Who is responsible/authorized

        - ___ Company Selling device

        - ___ Purchaser of device

      - ___ Special Environment needs

        - ___ Room size (device footprint) including ceiling height and wheelchair maneuverability, if needed space for a person to drive a wheelchair up a ramp.

        - ___ Temperature requirements

        - ___ Voltage requirements

    - ___ Errors and Omissions (If any errors or omissions are found in this manual, please notify:)

      - ___ Company Name

      - ___ Address

      - ___ Contact Name

      - ___ Phone Number

      - ___ Fax Number

      - ___ E-mail Address

    - ___ Reporting of Adverse Events to the manufacturer to ensure all errors/flaws/malfunctions/repairs are identified and corrected

      - ___Event Reported to

        - ___Name

        - ___Address

        - ___Phone Number

        - ___Fax Number

        - ___E-mail address

      - ___Description of Event

        - ___Date and time it happened

        - ___Place

        - ___ Person Injured (Patient or User)

        - ___Initials, DOB and sex of individual

        - ___ Equipment damaged  (caused the event or was damaged as a result of the event)

        - ___Description of event

      - ___Equipment Identification:

        - ___Product Name

        - ___Product Serial Number

      - ___Reporters Information

        - ___ Name

        - ___Company Name

        - ___Address

        - ___Phone Number

        - ___e-mail address

      - ___ Sample Reporting Adverse Events Form

  - ___ Treatment Population

    - ___ Suggested Diagnoses

    - ___ Indications

    - ___ Contraindications &/or Risk Factors(i.e., height and weight  capacity )

  - ___ Hardware

    - ___ Picture of Device

    - ___ Individual Parts of device labeled and defined including sub components i.e., harness

    - ___ Safety Switches Identified

    - ___ Trouble shooting

  - ___ Software

    - ___ Login process

    - ___ Screen prints

    - ___ Detailed description of each field

    - ___ Help Menus

    - ___ Trouble Shooting

  - ___ Set–up   Procedures/checklist (Steps to Train subjects in the device )

    - ___ General Overview

    - ___ Step by step written process

      - ___ Putting on or setting a patient up in the device

      - ___ Taking off or removing patient from the device

      - ___ Operating Modes

        - Identify uniqueness of different modes of training

        - Example of different training techniques

      - ___ Cleaning device between patients

      - ___ Data Storage / Summary features

    - ___ Pictures of the process

    - ___ Quick training check list and/or Tip sheets

  - ___ Emergency Procedures

    - ___ List Emergency switches

    - ___ Written step by step procedures how to use switches

    - ___ Pictures of switches

    - ___Emergently removing patient from the device

  - ___ Maintenance

    - ___ Time schedule for cleaning and maintenance

    - ___ Performance Check List

    - ___ Identify qualified person for routine maintenance and/or how they will be trained

    - ___ Trouble shooting steps

    - ___ Error Messages

    - ___ Who to contact and contact information

      - ___ Name

      - ___ Title

      - ___ Work Phone Number

      - ___ Cell Phone Number

      - ___Emergency Contact Number

      - ___ E-mail address

      - ___ Website

  - ___ Definitions and abbreviations and symbols