# Robotic Training/Competency Development Tools

Competency /Assessment Checklist

  - ___  Introduction

    - ___ To test User knowledge of device

    - ___ Provide patient and therapist safety

    - ___ Provide objective testing tools to validate user’s knowledge of the system

  - ___ Assessment

    - ___Device  (Structure in place to assess new devices, monitor their use and effectiveness)

      - Centralized

        - Committee

        - Department

      - Diversified based on users of the device

    - ___Users (Structure in place to users knowledge and skills on robotic devices for the purpose of certification and re-certification - Select Assessment areas and Methods of Verification)

      - ___ Technical Domain Competency Assessment

        - ___ Identify contraindications/precautions regarding the device

        - ___ Identify appropriate patient population to use the device

        - ___ Fit patient  properly in device

        - ___ Use Software properly (identify unique modes of training)

      - ___ Safety Domain Assessment

        - ___ Identify adjustments necessary for device fitting

        - ___ Identify adverse reactions of the device

        - ___  Identify Emergency/Safety Switches

        - ___ Demonstrate how to remove a patient from the devices in an emergency situation

      - ___ Methods of Verification

        - ___ Completing a course

        - ___ Passing a quiz/test

        - ___ Correctly Demonstrating Skills on co-worker or trainer

        - ___ Correctly Demonstrating Skills on a patient

      - ___ Sample Competency Evaluation Form

  - ___ Test/Quiz (Set a pass rate – recommend 95 to 100% for basic training and 90 to 100% for advanced training )

    - ___ Weight capacity

    - ___ Height Capacity

    - ___ Types of Training Modes

    - ___ Safety Switches

    - ___ Reporting Adverse Events

    - ___ Number of staff required to operate device safely

    - ___ Patient population

    - ___ Contraindications

    - ___ Science/principles behind the device (this may be more appropriate for certified instructors or super users)

  - ___ Tracking

    - ___Determine who will be responsible to track competency of all users

      - ___Super User for this device only

      - ___Central Facility individual for all Robotic Devices

      - ___Employee Supervisor during performance review

      - ___Employee during performance review

    - ___Tracking Forms

      - ___Device specific

(See Sample Device Specific Competency Tracking Form)

      - ___Robotics devices in general

(See  Sample Robotic Devices In General Competency Tracking Form)

      - ___All competencies in general

(See Sample Facility Competency Tracking Form)